Title: Design and Implementation of Solar-Powered Dewatering in Mining Operations

Proposed Solution:

We recommend a hybrid solar PV pumping solution under an OPEX (PPA/lease) model. This uses a photovoltaic array to power dewatering pumps, supplemented by intelligent controls, battery storage, and diesel backup to ensure 24/7 operation.
 considerable:

- High-Efficiency PV: Modern panels (15–20%+ efficiency) can deliver abundant  power on sunny day. Solar PV is now among the cheapest power sources

- Electric Submersible Pumps with VFD: Use water-cooled, corrosion-resistant submersible pumps or surface pump skids driven by AC motors and variable-frequency drives (VFDs). VFDs enable auto shutoff when the target water level is reached, and restart on rising levels

- Maximum-Power-Point Tracking (MPPT): The solar inverter (or a dedicated pump controller) will incorporate MPPT to extract maximum power from the array at all times, optimizing pump efficiency. Controllers can switch between solar and backup sources seamlessly.

- Energy Storage (Batteries): A battery energy storage system (BESS) buffers solar variability and covers night-time or low-sun periods.

- Diesel/Hybrid Backup: For ultimate reliability, include a small diesel generator (or grid tie-in, if available) that automatically starts when solar + battery cannot meet demand. In practice, the diesel only runs to recharge batteries or on unusually high loads.

- (optional)Smart Monitoring & Control: Integrate flow meters, level sensors and a PLC/SCADA system.

Commercial (OPEX/PPA) Model:

To avoid upfront CapEx, a third-party vendor would design, build and own the system, charging the mine either a flat monthly fee or per-volume of water pumped (PPA). NREL data indicate mines often use in-house renewable projects, but about 15% of mining renewables today are contracted through external PPAs or leases. Under the contract, the vendor guarantees performance (energy delivered/pumped) and handles all O&M. In our model, the vendor is fully responsible: they supply and maintain the PV array, pumps, controls, and backup.